### Building Height

<https://ura.gov.sg/-/media/Corporate/Guidelines/Development-control/Industrial/B103_Building_Height.jpg?h=100%25&w=100%25>

*Building Height*

Overall Building Height

Unless otherwise stated, the overall building height1 of industrial developments is subject to compliance with the technical height controls of the relevant agencies such as Civil Aviation Authority of Singapore (CAAS) and the Defence Science and Technology Agency (DSTA).

1 Building height is based on Singapore Height Datum (SHD).

Floor-to-Floor Height

The minimum floor-to-floor height of industrial buildings is 4.0m. For Sindo Industrial Estate where there is a storey height control, the maximum floor-to-floor height control is 6.0m.

<https://ura.gov.sg/-/media/Corporate/Guidelines/Development-control/Industrial/Sindo-Industrial-Estate.png?h=100%25&w=100%25>

*Sindo Industrial Estate*

*Last updated on 4 December 2019*